# 25-10-07

## Problem statement

The SunSolve simulation results is poor

- Problem file: "C:\Users\z5183876\OneDrive - UNSW\Documents\GitHub\25_09_02_Bomen_bifacial_gain_2021\Data\SunSolve Yield\Per inverter\2-1\0_mimic_PVsyst\25_10_07_ins_IAM.sim"

- Identical weather

- Identical IAM and tracking angle and angle of incidence

- Different POA

## Clue

This file works better: "C:\Users\z5183876\OneDrive - UNSW\Documents\GitHub\PV-syst-data\Bomen\Sunsolve_results\25_02_13_month_by_month\Weather_file_ins\Bomen_2021_6.sim”

I tried to make the problem file the same system as the working file, still bad.

- Let me try to modify the file to the existing one to see which steps got worse

- Original,  ok

- Update the weather file to see if it got worse

- So the problem comes from the weather file

- Try change the weather file of problematic file to old file

- May be because the solar position should be calculated instead of from weather

- Worked, but the weather became different

- "C:\Users\z5183876\OneDrive - UNSW\Documents\GitHub\25_09_02_Bomen_bifacial_gain_2021\Data\SunSolve Yield\Per inverter\2-1\0_mimic_PVsyst\25_10_07_old_weather.sim"

- The problem of different POA came from the weather file

- The old weather file was better

- But gave different DHI and DNI

- Weather data

  - Try same GHI and DHI with end (not DNI)

## 25-10-08

- Try to get a weather file that both gives an accurate simulation and same matching with weather data

- Bad dni as before

- Try weather with same ghi and dni end

- Bad dhi

- Try with dni and dhi, cannot

- Try ghi and dni ins

- Th best is ghi, dni with ins

- Record the results and model

# 25-10-09

- Modelled ended up using: "C:\Users\z5183876\OneDrive - UNSW\Documents\GitHub\25_09_02_Bomen_bifacial_gain_2021\Data\SunSolve Yield\Per inverter\2-1\0_mimic_PVsyst\25_10_08_ghidni_ins.sim"

- Try to improve the performance for Jan

  - Incident irradiance spectrum

  - Rear colour spectrum

  - IAM

  - Module frame

  - Improve T model

  - Remove vertical block

- Try to improve to get one model for all months that works for the whole year

- Try remove vertical block: no change

- Try use the spectrum calculation, improved CRMSE drop from 0.746 to 0.740

# 25-10-11

- Try to improve the performance for the Year (the 25_10_09_vb_spec)

  - Incident irradiance spectrum (done)

  - IAM

  - Module frame

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light

  - Rear colour spectrum monthly albedo

  - Monthly soiling

- Try:

- Try to improve the performance for the Year

  - Incident irradiance spectrum (done)

  - IAM

  - Module frame (failed)

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light

  - Rear colour spectrum monthly albedo

  - Spectrum for module current

- Cannot run the model: problem comes from the frame

- Try the default frame setting to see if it works

- No it does not

- Try different diffuse light model

- Try to improve the performance for the Year : 0.766 (worse)

  - Incident irradiance spectrum (done)

  - IAM

  - Module frame (failed)

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light: isotropic

  - Rear colour spectrum monthly albedo

  - Spectrum for module current

- Try to improve the performance for the Year : 1.10

  - Incident irradiance spectrum (done)

  - IAM

  - Module frame (failed)

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light: Hay

  - Rear colour spectrum monthly albedo

  - Spectrum for module current

- Try to improve the performance for the Year : 0.740

  - Incident irradiance spectrum (done)

  - IAM

  - Module frame (failed)

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light: Perez 1990

  - Rear colour spectrum monthly albedo

  - Spectrum for module current

- Try to improve the performance for the Year : 0.748

  - Incident irradiance spectrum (done)

  - IAM

  - Module frame (failed)

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light: Perez 1987

  - Rear colour spectrum monthly albedo

  - Spectrum for module current

- Try to improve the performance for the Year: 0.740

  - Incident irradiance spectrum (done)

  - IAM

  - Module frame (failed)

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light: Perez SAM

  - Rear colour spectrum monthly albedo

  - Spectrum for module current

- Try to improve the performance for the Year: 0.739

  - Incident irradiance spectrum (done)

  - IAM: from material (done)

  - Module frame (failed)

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light: Perez (1990) (done)

  - Rear colour spectrum monthly albedo

  - Spectrum for module current

- Try to improve the performance for the Year: 0.737

  - Incident irradiance spectrum (done)

  - IAM: from material (done)

  - Module frame (failed)

    - In options

    - In PV module definition

  - Improve T model

  - Remove vertical block (done)

  - Transpositional model for diffuse light: Perez (1990) (done)

  - Rear colour spectrum monthly albedo

  - Spectrum for module current: typical c-Si front and rear (done)

- Optimise monthly for all months other than the T model

- Jan: 0.261

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly

    - Thermal

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

- Sunsolve: 0.739

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly

    - Thermal

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month

- Sunsolve: 0.681

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly with spectrum

    - Thermal: Faiman

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month (done)

- Sunsolve: 0.681

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly with spectrum

    - Thermal: PLV 2022, default

    - Mounting structure

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month (done)

- Sunsolve: 0.684

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly with spectrum

    - Thermal: PLV 2022

      - Transient

        - Mmod=11.38 kg/m3 (from datasheet)

        - Cm=833J/K (default)

    - Mounting structure

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month (done)

- Sunsolve: 0.683

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly with spectrum

    - Thermal: PLV 2022

      - Transient

        - Mmod=11.38 kg/m3 (from datasheet)

        - Cm=700 J/K

    - Mounting structure

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month (done)

- Sunsolve: 0.677

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly with spectrum

    - Thermal: PLV 2022

      - Transient (disabled)

        - Mmod=11.38 kg/m3 (from datasheet)

        - Cm=400 J/K

      - Include radiation to sky: emissivity 0.9

    - Mounting structure

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month (done)

- Sunsolve: 0.677

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly with spectrum

    - Thermal: PLV 2022

      - Transient (disabled)

        - Mmod=11.38 kg/m3 (from datasheet)

        - Cm=400 J/K

      - Include radiation to sky: emissivity 0.8

    - Mounting structure

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month (done)

- Sunsolve: 0.677

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly with spectrum

    - Thermal: PLV 2022

      - Transient (disabled)

        - Mmod=11.38 kg/m3 (from datasheet)

        - Cm=400 J/K

      - Include radiation to sky: emissivity 0.9

      - Include heat flow to ground (default, const): 0.677

    - Mounting structure

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month (done)

- Sunsolve: 0.676 (25_10_11 file)

  - Options

    - Incident light spectrum (enabled) (optimised)

    - Module frames enable (failed)

    - Block vertical gap (disabled) (done)

    - Diffuse light: Perez 1990 (optimised)

  - Systems

    - Albedo monthly with spectrum

    - Thermal: PLV 2022 (optimised)

      - Transient (disabled)

        - Mmod=11.38 kg/m3 (from datasheet)

        - Cm=400 J/K

      - Include radiation to sky: emissivity 0.9 (optimised)

      - Include heat flow to ground (15, Tamb) (optimised)

    - Mounting structure

  - Module

    - EQE (c-Si) (optimised)

    - Frames (failed)

    - IAM (material calculated) (optimised)

  - Python: optimise for individual month (done)

- The next step is to break it down to monthly files

# 25-10-12

- Figure out the colour

- Change the color to see which one is better

- Jan:

  - 0.204, soil,

  - 0.204, veg

  - 0.204, const

# 25-10-14

- Figure out the matching for PVsyst

- Set up python environment for bifacial gain project (done)

- Try dni ghi and end to see if better match

- Got worse, do start

- Got better

- Try to improve this model: 0.710

  - Options

    - Incident light spectrum

    - Module frames enable

    - Block vertical gap (disabled)

    - Diffuse light: Perez 1990

  - Systems

    - Albedo monthly with spectrum

    - Thermal: PLV 2022

      - Transient (disabled)

        - Mmod=11.38 kg/m3

        - Cm=400 J/K

      - Include radiation to sky: emissivity 0.9

      - Include heat flow to ground (15, Tamb)

    - Mounting structure

  - Module

    - EQE (c-Si)

    - Frames

    - IAM (material calculated)

  - Python: optimise for individual month (done)

# 25-10-15

- Problem: suddenly, this does not work

- Try to go back to the PVsyst mimic file to see if it works, no

- Nothing I can do

  - Email Sunsolve

  - With

    - Screenshot

    - File

- Email sent, nothing can be done before I hear back from them

# 25-10-16

- Optimise the temperature model

  - Enable transient (got worse)

  - Enable radiation to sky

  - Eable heat flow to ground

  - Enable radiation to the floor

    - T ground constant

    - T ground ambient

  - Try without transient

  - Try with smaller c

    - The results show that the transient will make it worse, even though reducing the cmod will make it match better, it still worse than without transient at all

    - Try the radiation to the sky

    - Try smaller emissivity

    - Got better but still worse than not including it

    - Heat flow to ground

      - T ground 15 C

      - T ground ambient T

        - Try with different U see if we can beat 0.698

        - U=2

          - It decreases with U

          - It works the best with U=0, which means no heat flow

          - So the best option is to remove it

        - U=3

    - Try the dependence on tilt for U

      - Try 0.5 to see if there is anything changed

      - Just remove it

  - Optimise the U values

    - Uv=1

      - Uv keep as zero

    - Uc=20

    - Uc=18

    - OK, the best option for thermal model is just to keep it as it is

- Now let us try to optimise monthly

- The historical data only shows June being soil

- For each month

  - Update the dates

  - Update the albedo

  - Optimise

    - Veg

    - Soil

    - custom

- Jan

  - Update the dates

  - Update the albedo

  - Optimise

    - Veg

    - Soil

  - custom

- Feb

  - Update date

  - Update albedo: 0.200

  - Update python month

  - Optimise spec

    - Veg

    - Soil

    - const

- March

  - Update date

  - Update albedo

  - Update python

  - Optimise

    - Veg

    - Soil

    - const

- April

  - Update date

  - Update albedo

  - Run

  - Save

  - Update Python

  - Update

    - Veg

    - Soil

    - const

    - Soil is the best

- May

  - Update date

  - Update albedo

  - Run

  - Save

  - Update Python

  - Optimise

    - Veg

    - Soil

    - const

- June

  - Update date

  - Albedo

  - Python

  - Optimise

    - Veg

    - Soil

    - const

- July

  - Date

  - Albedo

  - Python

  - Optimisation

    - Soil

    - Veg

    - Cons: to save rays, stop running const for now

- August

  - Date

  - Albedo

  - Python

  - Optimisation

    - Veg

    - soil

- Sept

  - Date

  - Albedo

  - Python

  - Optimisation

    - soil

    - veg

- Oct

  - Date

  - Albedo

  - Python

  - Optimisation

    - veg

    - soil

- Nov

  - Date

  - Albedo

  - Python

  - Optimisation

    - soil

    - veg

- Nov

  - Date

  - Albedo

  - Python

  - Optimisation

    - veg

    - soil

# 25-10-20

- Try to ensure the scale factor of PVsyst and SunSolve works

- Ensure the PVsyst works

  - Claude: ask workflow

    - Init

    - prompt

  - Based in the explanation to see if it is as expected

  - Update the workflow

  - Run the analysis for inverter 2-1

- The file C:\Users\z5183876\OneDrive - UNSW\Documents\GitHub\25_09_02_Bomen_bifacial_gain_2021\Code\batch_pvsyst_evaluation_inv.py is wrong

- It did clipping first then scaled

- Study the code

- The scale->clip file works

- Run on the old code to see how it changes

- The results of clip then scale

- The results of scale then clipped

- Run python file

- Check if the results changed

- The results itself changed, it is just because the scaling was too small and the clipping idd not click in

- Try to ensure the sunsolve has the clipping as well

- Finished

- Now both SunSolve Yield and PVsyst has the same clipping process

- Check the filtering of the data

- Update the PVsyst notebook

- Check if the results is identical

- The problem: the notebook for 2-1 looks confusing

  - The heatmap shows 0.679 MWh/day but the plot shows 0.56 MWh/day

  - The daily plot looks strange, it seems to fill the nan with zero

- Goal, make the MBE(scale->clip->resample) to 0 for

  - PVsyst notebook

  - SunSolve Yield notebook

  - PVsyst python